Kerala Transport Development Finance Corporation Limited

6th Floor (Level 8), “Trans Towers”, Vazhuthacaud, Thiruvananthapuram

Telephone: 0471 2327881, 2327882, Fax: 0471 2326884

e-mail: mail@ktdfc.com Visit us: www.ktdfc.kerala.gov.in

TENDER No. 13/BOTP/KTDFC/Thampanoor/2017 Dated  09.03.2017

Tender Form for Sealed Competitive bid for Supply, Installation, Testing and 		Commissioning of CCTV Camera System at KSRTC Bus Terminal Complex Thampanoor, Thiruvananthapuram

TENDER SCHEDULE

Last Date and Time for the

submission of Tender	:         16.03.2017  at 3.00 pm.

Date of opening of  Tender	:         17.03.2017 at 11.00 am.

Managing Director

NOTICE INVITING TENDER FOR SUPPLY, INSTALLATION, TESTING AND COMMISSIONING 	OF CCTV CAMERA SYSTEM AT KSRTC BUS TERMINAL COMPLEX THAMPANOOR, THIRUVANANTHAPURAM

Sealed competitive tenders are invited, by Kerala Transport Development Finance Corporation Limited (KTDFC Ltd.) from eligible contractors/ firm for the supply, installation, testing and commissioning of CCTV camera system of ISI certification at KSRTC Bus Terminal Complex Thampanoor, Thiruvananthapuram

| SeriaNo. | Description | EMD | Cost of Tender form | Compliance Period |  |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply, Installation, Testing and Commissioning of CCTV camera system | Rs.12,500 | Rs.1,000+VAT | On or before 45 days from the date of executing the agreement |  |

*The technical specifications is enclosed with this tender form as  'Annexure B’.  Tenderers are advised to quote their Rate after careful study of the technical specifications as well as the following terms and conditions:

TERMS & CONDITIONS

- Prescribed tender documents can be obtained from the Head Office of Kerala Transport   	Development Finance Corporation Limited, Level 8 (6th Floor), Trans Towers 	Vazhuthacaud, Thiruvananthapuram-695014  or the same can be downloaded from the  	website of  KTDFC ( www.ktdfc.kerala.gov.in).

- Sealed envelope containing the tender documents duly signed by the tenderer(s), other 	necessary documents as mentioned in this tender form as well as the financial bid in the 	prescribed format (Annexure-A) should be sent to the Managing Director, 	Kerala 	Transport  Development Finance  Corporation  Limited, Level 8  (6th Floor), 	Transtowers Vazhuthacaud, Thiruvananthapuram-695014 with  a  superscription   	''Tender for the supply, installation, testing and commissioning of CCTV camera 	system at KSRTC Bus Terminal Complex Thampanoor, Thiruvananthapuram ''

3.	Tender documents duly completed in all respects  should reach either by Registered 	post or by person at the  address given below on or before 16.03.2017  at 	3.00 pm

Managing Director

Kerala Transport Development Finance Corporation Limited,

Level 8 (6th floor), Trans Towers

Vazhuthacaud, Thiruvananthapuram- 695014.

Tenders received after due date and time stated above will not be entertained under any circumstances. KTDFC will not be responsible for any postal delay or misplacement of Tender documents sent by post. Tenders will be opened as per Tender Schedule given above in the presence of  the interested tenderers or their authorized representatives whoever are present, at the Head Office of KTDFC.

4.	Tenderer (s) shall indicate complete specifications and all features of the above work.

5.	In case the information submitted by the tenderer is found to be incorrect/false, at any 	stage, tender of such party will be rejected and Earnest Money Deposit (EMD) will be 	forfeited.

6.	KTDFC reserves to itself the right to reject any or all the tenders without assigning any 	reason thereof  and to call for any other details or information from any of the tenderers.

7.	MD, KTDFC shall have the right to postpone/extend the date(s) of submission of 	tender /opening of bids.

8.	If the selected tenderer fails to supply and  install the camera surveillance system   	within the said period of 45 days , KTDFC shall be entitled to cancel the work order  	given to the tenderer and forfeit the earnest money deposited by him/them along 	with 	the tender forms without giving any notice and without any obligation whatsoever 	and make alternative 	arrangements for the said work.

9.	The earnest money of unsuccessful tenderers, other than the second and third highest 	bidders, will be refunded within 7 days of the finalisation of the tender. As regards the 	second and third highest bidders, earnest money will be refunded within 7 days after the 	supply and installation of the item. No interest will be given on E.M.D.

10.	Acceptance or non-acceptance of any tender shall rest with Managing Director, Kerala 	Transport Development Finance Corporation Limited, Level-8 (6th Floor), Trans 	Towers Vazhuthacaud, Thiruvananthapuram-695014 at his/her discretion.

11.	Non-compliance with any of the conditions given herein may lead to the rejection of 	tender.

12.	In the event of any default, failure, negligence, breach or violation, in the opinion of 	KTDFC, on the part of the selected tenderer in complying with all or any of the 	conditions, KTDFC will be entitled and be at liberty to revoke the work order, by 	serving 7 days notice in writing. In such cases, the loss and  damages caused to 	KTDFC,if any, will be recovered from the selected tenderer by taking legal actions 	including actions as per the provisions of the Kerala Revenue Recovery Act. Similarly 	KTDFC shall also have the right to recover any other amounts due from the selected 	tenderer by taking recourse to the procedure above mentioned.

13.	Selected tenderer is liable to pay the required Service Tax/VAT/other taxes as are 	applicable, as may be decided by Central/State Governments from time to time. 	KTDFC shall not have any responsibility in this regard.

14.	Only manufacturers having CE certification or authorized distributors of such certified 	products can participate in the tender. The tenderer should submit proof of their 	manufacturing / authorized distributorship.  This is subject to verification, if necessary.

15.	Demand draft/Banker's cheque for Rs. 12500 as EMD in favour of Managing director, 	KTDFC payable at Thiruvananthapuram should be attached with the tender.

16.	Incomplete or conditional or optional tender will not be accepted. The optional either in 	model or in rates will not be accepted and the tender will be rejected .

17.	The price must be quoted as per proforma for price schedule “Annexure A” both in 	words as well as in figures. It shall be inclusive of all applicable taxes,charges, 	levies,handling and transportation charges,etc. Overwriting of rates should be avoided. 	Tenderer must initial any cutting / rewriting / overwriting of rates. Nothing over and 	above the quoted price would be payable to the successful bidder.

18.	In case the firm fails to comply the work order within the stipulated period and are 	not willing to perform the contract, the item will be procured from the next lowest 	tenderer and the difference of cost will be recovered from the first party by taking 	legal 	actions including actions as per the provisions of the Kerala Revenue Recovery Act.

19.	The tender will be rejected without assigning any reasons if the firm/company or its 	owner/partner/director involves in any criminal case of declared black listed by any 	Govt./Semi govt. department/agencies etc.

20.	The tendering firm shall also submit a declaration that the product offered by them is as 	per technical specifications of the tender.

21.	The bidder should carry an on-site comprehensive warranty/guarantee of the item for 	a period of at least One year and AMC for five years after the  warranty/guarantee 	period.

22.	In case of any complaint during guarantee/warranty period, the firm must attend the 	complaint immediately and rectify the problem and/or replace parts on site of minor 	nature within 12 hours of the  reporting of complaint. In case the problem is major in 	nature and there is need for prolonged repair work, suitable standby arrangement shall 	be made within 24 hours of reporting of the complaint. For this purpose, working hours 	would be from 10.00 AM to 5.00 PM (Monday to Saturday). During the 	guarantee/warranty period the contractor shall be liable to replace, repair any defects 	that may cause to the item of work, at its own cost and responsibility.

23.	The tenderer shall have a maintenance base in Thiruvananthapuram.

24.	During AMC period also the contractor shall have the same duties and responsibilities 	in case of the warranty/guarantee period. All defects, shortcomings, mistakes, 	degradation of qualities etc of all items of work to be supplied and installed shall be 	cured/ rectified/repaired/replaced by the contractor at his own cost and expenses during 	these periods. Corporation shall not pay an extra amount in this regard.

25. 	supply, installation, testing and commissioning of CCTV camera 	system	 shall be 	done by qualified technicians and the selected tenderer shall be fully responsible for any 	loss, 	damage, expenses, if any, that may be caused to KTDFC due to any defective 	supply, installation, testing and commissioning and such amounts shall be recovered 	from the contractor.

26. 	Previous experience on the part of the tenderer in the execution of similar nature of 	works  	of sufficient magnitude as mentioned in tender notice and guidance shall be 	necessary for technical qualification. Tenders from those who do not have 	sufficient f 	inancial and technical resources and previous experience will not be considered. Proof 	in support of 	experience and financial and technical resources shall be furnished along 	with the tender. It may be noted that KTDFC has not decided to exempt any 	organization in respect of the 	minimum requirement of previous experience and 	financial and 	technical capabilities 	specified elsewhere. The tenderer should attach a 	list of works 	satisfactorily executed by him during the past 3 years under Government 	/ Quasi Government Departments / reputed Private Sector concerns noting therein the 	name and description of works, probable amount of contract, status of completion 	etc.

27. 	The successful tenderer is required to execute an agreement in stamp paper worth 	Rs.200/- stipulating the above conditions  on depositing 5 % of the quoted amount as 	Security Deposit to cover the Defect Liability Period.

Signature of Tenderer :

Name of the Tenderer	:

Address		:

TENDER FOR SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF CCTV CAMERA SYSTEM AT KSRTC BUS TERMINAL COMPLEX THAMPANOOR, THIRUVANANTHAPURAM

|  | Name of the Firm | : |
| --- | --- | --- |
|  | Correspondence address with Telephone No. and Fax No. | : |
|  | Local address with Telephone No. and Fax No. | : |
|  | Details of Earnest Money deposit | : |
|  | Whether registered with NSIC/DGS&D, If yes attach copy | : |
|  | Copy of authorized distributorship / Manufacturer | : |
|  | Declaration that product offered by firm is as per Tender's Technical Specifications | : |

Signature of the Tenderer with Seal

ANNEXURE – A

PROFORMA FOR PRICE SCHEDULE

TENDER FOR SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF CCTV CAMERA SYSTEM AT KSRTC BUS TERMINAL COMPLEX THAMPANOOR, THIRUVANANTHAPURAM

Part I – Supply, Installation, Testing and Commissioning of CCTV camera system at KSRTC Bus Terminal Complex Thampanoor, Thiruvananthapuram

I/We agree to carry out the work using ISI certified materials in all respects as per the terms and conditions,

specifications and tender schedule at the rate shown in the Price Bid.

| S.No | Description | Unit | Quantity | Unit price | Total cost |
| --- | --- | --- | --- | --- | --- |
| 1 | 32channel NVR 5MP@2Ch, 3MP@4Ch, 1080p@8Ch, 720@16Ch 4SATA HDD Support with internet monitoring facilities and Mobile monitoring facilities. | Each | 1 |  |  |
| 2 | 4TB Surveillance SATA HDD | Each | 2 |  |  |
| 3 | 2Megapixel 40 to 50M IP IR Bullet Camera Built-in POE | Each | 12 |  |  |
| 4 | 2Megapixel 30M IP IR Bullet Camera Built-in POE | Each | 11 |  |  |
| 5 | 2Megapixel IP IR Dome Camera Built-in POE | Each | 1 |  |  |
| 6 | 8PORT GIGABIT POE SWITCH | Each | 3 |  |  |
| 7 | 6U Wall Mount Network Rack with 1 cooling fan, 1 tray and 1 Switch board. | Each | 4 |  |  |
| 8 | 16 port gigabit switch. | Each | 1 |  |  |
| 9 | Single mode gigabit media converter | pair | 3 |  |  |
| 10 | 2M Fiber Patch Cord | Each | 6 |  |  |
| 11 | Fiber Termination Box | Each | 6 |  |  |
| 12 | Cat6 cable with Pipe | Meter | 1600 |  |  |
| 13 | Cat6 Laying Charge | Meter | 1600 |  |  |
| 14 | 2-Core Optical Fiber Cable with Pipe | Meter | 550 |  |  |
| 15 | 2-Core Optical Fiber Laying Charge | Meter | 550 |  |  |
| 16 | 1.5Sq MM 3Core Power Cable with Pipe | Meter | 100 |  |  |
| 17 | 1.5Sq MM 3Core Power Cable Laying Charge | Meter | 100 |  |  |
| 18 | One Meter Cat6 Pach Cod | Each | 8 |  |  |
| 19 | Sintex Box | Each | 3 |  |  |
| 20 | 4X4 Open PVC Box | Each | 21 |  |  |
| 21 | 1KVA UPS with Built in Battery | Each | 4 |  |  |
| 22 | 4" Squire Tube 3.5m Camera fixing Post. (PCC Foundation Clamp and camera Fixing accessories) | Each | 2 |  |  |
| 23 | Total Installation and Commissioning charge. | Set | 1 |  |  |
|  | Grand Total |  |  |  |  |

Part II – Comprehensive Annual Maintenance Contract for Five Years after the Defect

Liability Period (Warranty Period) of one year from commissioning and handing over.

My/Our rates for Comprehensive Annual Maintenance Contract for the Camera surveillance for first five years after the Defect Liability Period of one year are given below, as percentages of quoted PAC.

| YEAR | Rate for AMC (Comprehensive) |
| --- | --- |
| First year | ----- % |
| Second year | ----- % |
| Third year | ----- % |
| Fourth year | ----- % |
| Fifth year | ----- % |

Signature :

Name :

It is hereby certified that I/we have understood all the terms and conditions specified in the tender document and are thoroughly aware of the nature of job required to be done and goods/items to be supplied.  We agree to abide by all the tender terms and conditions.

I/We hereby offer to carry out the job and supply the goods/items detailed above as per the tender terms and conditions.

(Signature and seal of Bidder)                                                                         Dated:

ANNEXURE – B

TECHNICAL SPECIFICATIONS OF SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF CCTV CAMERA SYSTEM AT KSRTC BUS TERMINAL COMPLEX THAMPANOOR, THIRUVANANTHAPURAM

| 32 Ch. Network Video Recorder 32 Ch. with 1080p Realtime Live View H.264/MJPEG dual codec decoding Up to 5Mp resolution preview&playback Max 200Mbps incoming bandwidth Support 4 SATA HDDs up to 16TB, 1 eSATA up to 16TB, 2 USB(1 USB3.0) HDMI / VGA / TV simultaneous video output Support Multi-brand network cameras ONVIF Version 2.3 conformance Brand – Cp-plus, Hikvision, Dahua, Honewell 4TB Surveillance SATA HDD Data transfer rate (max) Buffer to host Host to/from drive (sustained) 6 Gb/s 150 MB/s 3.5-inch Cache (MB) 64 Rotational speed (RPM) Intelli Power Load/unload cycles4 300,000 Non-recoverable read errors per bits’ read Brand – WD, Seagate 2 MP Full HD IP IR Bullet Camera - 40Mtr. 1/2.7” 2MP progressive scan CMOS Image Sensor 25/30fps@1080P H.264plus and H.264 dual-stream encoding DWDR, Day/Night(ICR), Auto Iris, 3DNR, AWB, AGC, BLC 2.8mm fixed lens (3.6mm 6mm 8mm optional) Array Range of 40 Mtrs, IP67, PoE Brand – Cp-plus, Hikvision, Dahua, Honewell 2MP HD IP Bullet Camera - 30Mtr. 1/2.7” 2Megapixel progressive scan CMOS 25/30fps@1080P H.264 and MJPEG dual-stream encoding DWDR, Day/Night(ICR), Auto Iris, 3DNR, AWB, AGC, BLC 3.6mm fixed lens (6mm optional) Array Range of 30 Mtrs, IP67, PoE Brand – Cp-plus, Hikvision, Dahua, Honewell 2 MP Full HD IR Dome Camera - 30Mtr. 1/2.7” 2Megapixel progressive scan CMOS Max 25/30fps@1080P H.264 and MJPEG dual-stream encoding DWDR, Day/Night(ICR), Auto Iris, 3DNR, AWB, AGC, BLC 3.6mm fixed lens (6mm optional) IR Range of 30 Mtrs, IP67, PoE Brand – Cp-plus, Hikvision, Dahua, Honewell 8 PORT GIGABIT POE SWITCH 8 10/100/1000Mbps RJ45 Ports AUTO Negotiation/AUTO MDI/MDIX 10BASE-T: UTP category 3, 4, 5 cable (maximum 100m) EIA/TIA-568 100Ω STP (maximum 100m) 100BASE-TX: UTP category 5, 5e cable (maximum 100m) EIA/TIA-568 100Ω STP (maximum 100m) 1000BASE-T: UTP category 5, 5e, 6 or above cable (maximum 100m) EIA/TIA-568 100Ω STP (maximum 100m) Power - 100-240VAC, 50/60Hz Maximum (PoE on): 133.8W (220V/50Hz) Maximum (PoE off): 9.8W (220V/50Hz) Standard: 802.3at/af compliant PoE+ Ports: 8 Ports Power Supply: 124W Back bound Bandwidth 16Gbps Buffer Size 2Mbits Brand – Cisco, D-Link, TP-Link, HP 6U Wall Mount Network Rack with 1 cooling fan, 1 tray and 1 Switch board Front Door with Toughened Glass quality. Adjustable Mounting rails - Front and Back 1 Fan Mounting provision Top and bottom cable entry provides Optimal flexibility for cable management Easy wall mount provision Frame structure with max loading capacity up to 60kg Compatible with 19” International standards Brand – D-link, iBall, Valrack, Unicorn 16 port gigabit switch IEEE 802.3, 802.3u, 802.3ab compliant IEEE 802.3x Flow Control IEEE 802.3az EEE compliant IEEE 802.3af compliant IEEE 802.3af/at compliant Half/Full-duplex operation at 10/100 Full-duplex operation at 1000Mbps Auto-Negotiation for each port Auto MDI/MDIX Switching Capacity - 10 Gbps Max. Forwarding Rate - 7.4 Mpps Packet Buffer - 1 Mbits Flash Memory - 2 Mbytes Brand – Cisco, D-Link, TP-Link, HP Single mode Gigabit media converter IEEE 802.3ab, IEEE 802.3z, IEEE 802.3x Full Duplex Flow Control (IEEE 802.3x) Extends fiber distance up to 15km Ports 1 1000M SC/UPC port 1 1000M RJ45 port (Auto MDI/MDIX) Wave Length 1310nm Network Media 1000BASE-FX Single-mode Fiber Network Media 1000BASE-T UTP category 5, 5e cable (maximum 100m) EIA/TIA-568 100Ω STP (maximum 100m) Brand – Cisco, D-Link, TP-Link, HP Cat6 cable Cable shielding type UTP Type of cable 4 twisted-pairs cable Conductor material Solid bare copper Input impedance 100 Ohm +/- 6 % @ 1...300 MHz Loop resistance >= 72 Ohm Insulation resistance >= 500 mOhm /km 500 V DC Nominal velocity propagation 69 % Cable outer diameter 6 mm Cable length 100 m AWG gauge AWG 23 Material For jacket : PVC (polyvinyl chloride) Brands – Digilink/AMP/Molex/Krone/Panduit/Belden/TE 2-Core Optical Fiber Cable Type of cable 2Core Single-mode Fiber Brands - AMP/Molex/Krone/Panduit/Belden/TE 1KVA UPS with Built in Battery Output Voltage: 230V AC±10%, 50 Hz±1% Output Waveform: Pseudo Sine Wave Indications: Visual and Audio Weight (Kg): 8.9 In built ZPD technology Capacity: 1000VA/600W Application: Two computers with 43 cm TFT monitors Battery Details: 12V , 7Ah - 2 No's Cabinet Details: ABS, Black Product Warranty: 24 Months Off-mode battery charging with high voltage protection Backup time : 15-20 minutes at battery full charge condition Brands - Intex/ v-guard |  |
| --- | --- |

TENDER FOR SUPPLY, INSTALLATION, TESTING AND COMMISSIONING OF CCTV CAMERA SYSTEM AT KSRTC BUS TERMINAL COMPLEX THAMPANOOR, THIRUVANANTHAPURAM

Dated:....................

To

The  Managing Director,

Kerala Transport Development Finance Corporation Limited,

Level-8 (6th   Floor),Trans Towers, Vazhuthacaud,

Thiruvananthapuram – 695 014.

Dear Sir,

- I/We …..................................................................... …...................................... …......................... …..................................................................................... hereby tender for the supply, installation, testing and commissioning of cctv camera system at ksrtc bus terminal complex thampanoor, thiruvananthapuram

- I/We have quoted my/our rates as per proforma for price schedule “Annexure A” attached to this tender form.

- In the event of acceptance of this tender, I/We agree to observe and be bound by the terms and conditions mentioned in this tender form and attached documents which is subject to such modifications from time to time as deemed necessary by the Managing Director, KTDFC and the same shall always be  construed as agreed to be complied by me/us.

- I/We agree to abide by the conditions and stipulations explicitly or implicitly laid down in the instructions to the tenderer attached to the tender form/given by KTDFC from time to time.

- The tender documents received from Kerala Transport Development Finance Corporation Limited are returned herewith duly accepted and signed by me/us on each page of the tender documents.

Enclosures:

- The Demand draft/Banker's cheque of Rs 12500/- being the E.M.D in favour of the Managing Director, Kerala Transport Development Finance Corporation Limited

- Copy of authorized distributorship/Manufacturer.

- Technical specifications of the product offered along with literature/brochure.

- Declaration that the product offered is as per the technical specifications of the tender.

- Tender documents duly signed with seal of the firm, in token of acceptance of terms and conditions.

- Declaration to the effect that the firm is neither blacklisted by any Govt. Department nor any Criminal Case is registered against the firm/company or its owner/partners/directors anywhere in India.

- Certified copy of the PAN Card/ VAT Registration No.

- Authorisation Letter/Power of Attorney if any other person is authorised to sign the tender documents for partners/directors in the case of partnership firm/company.

- Financial Bid in Annexure – A [Signed by Tenderer(s)]

- All Other supporting documents as required in the tender shall be attached.

Yours faithfully,

Signature of the Tenderer (Seal if any)	:

Name of the Tenderer & Full Address	:

Witnesses with address:

1.

2.